## Complete Cost Estimate
SANITARY SEWER, LIFT STATION, AND WATERMAIN EXTENSION FOR LA PORTE COUNTY, IN
|  |  |  | Updated: | 2020-10-26
OPINION OF PROBABLE CONSTRUCTION COSTS
LA PORTE COUNTY - SANITARY SEWER, FORCEMAIN, AND WATERMAIN EXTENSION
I-94/US 421 TIF
| Contract Incidentals |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| S1 | Maintenance of Traffic | LS | 1
| S2 | Compaction Tests | Ea | 10
| S3 | Contractor Trailers | LS | 1
| S4 | Bonds & Insurance | LS | 1
| S5 | Mobilization/De-Mobilization | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| GRAVITY SEWER G-1: STARTING AT MANHOLE #10 AT 5' DEEP ALONG CR 300N WEST OF SR 421 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| S1 | 18'' PVC SDR 35 Gravity Sewer, 8'-12' Depth, Complete | LF | 1650
| S2 | 18'' DI Gravity Sewer, 8'-12' Depth, Complete | LF | 85
| S3 | 18'' PVC SDR 35 Gravity Sewer, 12'-14' Depth, Complete | LF | 540
| *S4 | 18'' PVC SDR 26 Gravity Sewer 14'-19' Depth, Complete | LF | 625
| S5 | 18'' DI Gravity Sewer 14'-19' Depth, Complete | LF | 50
| S6 | 48" Dia. Precast Manhole, 8-12' Depth, Complete | EA | 4
| S7 | 48" Dia. Precast Manholes, 12-14' Depth, Complete | EA | 1
| S8 | 48" Dia. Precast Manholes, 14-19' Depth, Complete | EA | 2
| S9 | 48" Dia. Outside Drop Precast Manhole, 8-12' Depth, Complete | EA | 1
| S10 | 48" Dia. Outside Drop Precast Manhole, 12-14' Depth, Complete | EA | 1
| S11 | 48" Dia. Outside Drop Precast Manholes, 14-19' Depth, Complete | EA | 2
| S12 | 36" Steel Casing Pipe, Jack & Bore, Crossing SR 421 B/W MH 1 and 2 (For 18" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 270
| S13 | 36" Steel Casing Pipe, Jack & Bore B/W MH 4 and 5 (For 18" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 168
| S14 | Granular Backfill, No.53 Compacted Aggregate | TON | 100
| *S15 | Commercial Concrete Drive Replacement, 4000 PSI, 8" Depth, Compacted No. 53 Aggregate | SY | 55
| S16 | Seeding and Mulching | SY | 5278
| S17 | Grubbing | AC | 2.56
| S18 | Erosion Control | LF | 1969
| S19 | Dewatering | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| GRAVITY SEWER LINE SEGMENT G-2: STARTING AT MANHOLE #27 ALONG SR 421 TO MANHOLE #1 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| S1 | 18'' PVC SDR 35 Gravity Sewer, 0-8' Depth, Complete | LF | 455
| S2 | 18'' PVC SDR 35 Gravity Sewer, 8'-12' Depth, Complete | LF | 78
| S3 | 48" Dia. Precast Manholes, 8-12' Depth, Complete | EA | 2
| S4 | Seeding and Mulching | SY | 1185
| S6 | Dewatering | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| GRAVITY SEWER LINE SEGMENT G-3: STARTING AT MANHOLE #29 ALONG SR 421 TO MANHOLE #27 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| S1 | 18'' PVC SDR 35 Gravity Sewer, 0-8' Depth, Complete | LF | 295
| S2 | 48" Dia. Precast Manholes, 0-8' Depth, Complete | EA | 1
| S3 | 48" Dia. Precast Manholes, 8-12' Depth, Complete | EA | 1
| S4 | Seeding and Mulching | SY | 656
| S6 | Dewatering | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| GRAVITY SEWER LINE SEGMENT G-4: FROM MANHOLE #30 TO #27, CROSSING SR 421 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| S1 | 8'' DI Gravity Sewer, 8'-12' Depth, Complete | LF | 35
| S2 | 48" Dia. Precast Manholes, 8-12' Depth, Complete | EA | 1
| S3 | 24" Steel Casing Pipe, Jack & Bore of Crossing SR 421 (For 8" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 100
| S4 | Seeding and Mulching | SY | 30
| S5 | Erosion Control | LF | 31
| S6 | Dewatering | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| GRAVITY SEWER LINE SEGMENT G-5: FROM MANHOLE #40 TO #1, CROSSING CR 300N |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| S1 | 8'' PVC SDR 35 Gravity Sewer, 8'-12' Depth, Complete | LF | 185
| S2 | 48" Dia. Precast Manholes, 12-14' Depth, Complete | EA | 1
| S3 | Granular Backfill, No.53 Compacted Aggregate | TON | 90
| *S4 | HMA Surface Replacement, 9.5 mm, 1.5" Depth | TON | 5
| *S5 | HMA Base Replacement, 25.0 mm, 6" Depth | TON | 20
| S8 | Seeding and Mulching | SY | 125
| S9 | Erosion Control | LF | 90
| S10 | Dewatering | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| LIFT STATION & FORCE MAIN LINE SEGMENT F: LIFT STATION TO DISCHARGE LOCATION |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| F1 | 16" Steel Casing Pipe, Jack & Bore of Crossing I-94 (For 6" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 240
| F2 | 6" DIPS 11 HDPE, HDD | LF | 4815
* | F3 | 6" DIPS 11 HDPE, Open Cut | LF | 245
* | F4 | 6" DIP, Open Cut | LF | 5
| F5 | Air Release Valves + Valve Structures (4' Dia.) | EA | 6
| F6 | Flow Meter Pit/Vault (8'x7')
| *MP1 | Disconnect Switch & Installation,Complete | EA | 1
| *MP2 | Circuit Breaker & Installation, Complete | EA | 1
| *MP3 | MAG 6000 | EA | 1
| *MP4 | MAG 5100W | EA | 1
| *MP5 | Sch. 80 1/2" PVC Conduit | LF | 12
| *MP6 | Right Angle 1/2" PVC Conduit | EA | 4
| *MP7 | 24" x 24" Aluminum Access Hatch | EA | 1
| *MP8 | 8' x 5' x 7' Precast Concrete Structure & Installation, Complete | EA | 1
| *MP9 | Dialog Scout Wireless with Nema 4X Enclosure & Installation, Complete | EA | 1
| *MP10 | 6" DeZurick Series 100 Plug Valve | EA | 3
| F7 | 6" 45 Degree DIMJ Restrained Bend With Harvey Adapters | EA | 4
| F8 | Connection to Existing Sanitary Sewer, Core Drill | EA | 1
| F9 | Surface Milling (Cold Planing), Asphalt | SY | 10
| F10 | Granular Backfill, No.53 Compacted Aggregate | TON | 250
| F11 | HMA Surface Replacement, 9.5 mm, 1.5" Depth | TON | 66
| F12 | HMA Base Replacement, 25.0 mm, 6" Depth | TON | 263
Lift Station
| *LS1 | Concrete Pad & Installation, Complete | CF | 350
| *LS2 | Fence & Installation, Complete | LF | 92
| *LS3 | Wet Well & Installation, Complete | EA | 1
| *LS4 | Valve Vault & Installation, Complete | EA | 1
| *LS5 | Halliday Products (Model No: S2S6648) & Installation, Complete | EA | 2
| *LS6 | Two ABS Pump (XFP100E CB1.4 PE90/4) & Installation, Complete | EA | 1
| *LS7 | 6'' DIP CL. 50 | EA | 65
| *LS8 | 6'' DIP 90⁰ Elbow CL. 250 | EA | 5
| *LS9 | 6'' DIP Mechanical Joint CL. 250 | EA | 2
| *LS10 | 4'' DIP CL. 50 | EA | 10
| *LS11 | 4" DIP 90⁰ Elbow CL. 250 | EA | 2
| *LS12 | 8'' PVC Sch. 40 | LF | 11
| *LS13 | 4'' PVC Sch. 80 | LF | 15
| *LS14 | 2'' PVC Sch. 80 | LF | 15
| *LS15 | 4'' PVC Check Valve Flap Type | EA | 1
| *LS16 | 6'' DIP Check Valve w/flanged end | EA | 2
| *LS17 | 6'' DeZurick Series 100 Plug Valve | EA | 2
| *LS18 | 2'' DeZurick Series 100 Plug Valve w/threaded ends & op. nut | EA | 1
| *LS19 | Raven Epoxy (Raven 760 HPPC Base Coat & Raven 405FS Top Coat) | SY | 85
| *LS20 | Electrical Hookup Lift Station Site 3 ph | LS | 1
| *LS21 | Electrical Hookup Flow Meter Site 1 ph | LS | 1
| F13 | Seeding and Mulching | SY | 1475
| F14 | Erosion Control | LF | 102
| F15 | Dewatering (Lift Station) | LS | 1
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| TOTAL SEWER CONSTRUCTION COST (LINE SEGMENTS G-1, G-2, G-3, G-4, G-5, F) |  |  |  |  | 0
| WATERMAIN LINE SEGMENT A1 &A2: FROM CR 300 N WEST OF SR 421 TO CR 950 N NORTH OF I-94 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| W1 | 20" DIP Watermain with Poly-Wrap | LF | 7940
| W2 | Fire Hydrant Assembly with 6" Gate Valve, Complete | EA | 14
| W3 | 20" Butterfly Valve with Valve Box, Riser & Cover | EA | 22
| W4 | 20" DIP for Stream/Gas Crossings, HDD | LF | 348
| W5 | 36" Steel Casing Pipe, Jack & Bore I-94 Crossing (For 20" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 240
| W6 | 36" Steel Casing Pipe, Jack & Bore SR 421 Crossing (For 20" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 190
| W7 | 36" Steel Casing Pipe, Jack & Bore ANR Pipeline Crossing (For 20" DI Carrier Pipe), Including Spacers and End Seals, Complete | LF | 170
| W8 | Air Release Valve and Pit | Ea | 1
| W9 | Granular Backfill, No.53 Compacted Aggregate | TON | 1694
| W10 | HMA Surface Replacement, 9.5 mm, 1.5" Depth | TON | 55
| W11 | HMA Base Replacement, 25.0 mm, 6" Depth | TON | 210
| W12 | Concrete Curb | LF | 30
| W13 | Concrete Curb Removal | LF | 30
| W14 | Residential Concrete Drive Replacement, 4000 PSI, 6" Depth, Compacted No. 53 Aggregate | SY | 45
| W15 | Stone Drive Repair, No.53 Compacted Aggregate, 6" Depth | TON | 49
| W16 | Seeding and Mulching | SY | 8822
| W17 | Tree Clearing | LS
| W18 | Grubbing | AC | 0.66
| W19 | Erosion Control | LF | 6470
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| WATERMAIN LINE SEGMENT B: ALONG EAST SIDE OF SR 421 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| W1 | 12" DIP Watermain with Poly-Wrap | LF | 266
| W2 | Fire Hydrant Assembly with 6" Gate Valve, Complete | EA | 1
| W3 | 12" Butterfly Valve with Valve Box, Riser & Cover | EA | 1
| W4 | Erosion Control | LF | 818
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| WATERMAIN LINE SEGMENT B-1: EXTENSION OF LINE B, NORRIS DITCH CROSSING |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| W1 | 12" DIP Watermain with Poly-Wrap | LF | 980
| W2 | Fire Hydrant Assembly with 6" Gate Valve, Complete | EA | 2
| W3 | 12" DI Tee, With Blind Flanges, For Future Watermain Connection | EA | 1
| W4 | 12" Butterfly Valve with Valve Box, Riser & Cover | EA | 2
| W5 | 12" DIP for Stream/Gas Crossings, HDD | LF | 183
| W7 | Seeding and Mulching | SY | 1384
| W8 | Grubbing | AC | 0.2
| W9 | Erosion Control | LF | 50
SUB-TOTAL
CONSTRUCTION CONTINGENCY
TOTAL
| WATERMAIN LINE SEGMENT C: ALONG WEST SIDE OF SR 421 |  |  |  | ENGINEER'S ESTIMATE
| ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | TOTAL PRICE
| W1 | 12" DIP Watermain with Poly-Wrap | LF | 1395
| W2 | Fire Hydrant Assembly with 6" Gate Valve, Complete | EA | 3
| W3 | 12" Butterfly Valve with Valve Box, Riser & Cover | EA | 4
| W4 | 12" DIP for Stream/Gas Crossings, HDD | LF | 24
| W6 | Granular Backfill, No.53 Compacted Aggregate | TON | 545
| W8 | Seeding and Mulching | SY | 1550
| W9 | Grubbing | AC | 0.1
| W10 | Erosion Control | LF | 100
SUB-TOTAL
TOTAL
TOTAL WATERMAIN CONSTRUCTION COST (LINE SEGMENTS A, B, B-1, C)
TOTAL PROBABLE CONSTRUCTION COST (LINE SEGMENTS G-1, G-2, G-3, G-4, G-5, F, A, B, B-1, C)
Project Grand Total

## COVER PAGE - SUMMARY
SANITARY SEWER, LIFT STATION, AND WATERMAIN EXTENSION FOR LA PORTE COUNTY, IN
| Date: | 2019-05-21
LA PORTE COUNTY - SANITARY SEWER, FORCEMAIN, AND WATERMAIN EXTENSION
I-94/US 421 TIF
OPINION OF PROBABLE CONSTRUCTION COSTS
GRAVITY SEWER G-1: STARTING AT MANHOLE #10 AT 5' DEEP ALONG CR 300N WEST OF SR 421
GRAVITY SEWER LINE SEGMENT G-2: STARTING AT MANHOLE #27 ALONG SR 421 TO MANHOLE #1
GRAVITY SEWER LINE SEGMENT G-3: STARTING AT MANHOLE #29 ALONG SR 421 TO MANHOLE #27
GRAVITY SEWER LINE SEGMENT G-4: FROM MANHOLE #30 TO #27, CROSSING SR 421
GRAVITY SEWER LINE SEGMENT G-5: FROM MANHOLE #40 TO #1, CROSSING CR 300N
LIFT STATION & FORCE MAIN LINE SEGMENT F: LIFT STATION TO DISCHARGE LOCATION
WATERMAIN LINE SEGMENT A1 &A2: FROM CR 300 N WEST OF SR 421 TO CR 950 N NORTH OF I-94
WATERMAIN LINE SEGMENT B: ALONG EAST SIDE OF SR 421
WATERMAIN LINE SEGMENT B-1: EXTENSION OF LINE B, NORRIS DITCH CROSSING
WATERMAIN LINE SEGMENT C: ALONG WEST SIDE OF SR 421
TOTAL